## Лист1
code | name | price | vendor
134B5942 | 10 pcs 9 pole connector no STO | 681 | Danfoss
130B5759 | 10 pol/terminal no safe stop | 101 | Danfoss
130B1073 | 10 pole connector | 1476 | Danfoss
176F3843 | 10 pole connector - 100 pieces | 5392 | Danfoss
176F2164 | 12 Pulse Inverter module P1M0kW 500V | 183881 | Danfoss
176F2876 | 12 Pulse Inverter module P1M0kW 690V | 196581 | Danfoss
176F2842 | 12 Pulse Inverter module P315kW 480V | 167251 | Danfoss
176F2167 | 12 Pulse Inverter module P500kW 500V | 166272 | Danfoss
176F2166 | 12 Pulse Inverter module P560kW 500V | 166272 | Danfoss
176F2849 | 12 Pulse Inverter module P630kW 480V | 183881 | Danfoss
176F2168 | 12 Pulse Inverter module P630kW 500V | 183881 | Danfoss
176F2169 | 12 Pulse Inverter module P710kW 500V | 216786 | Danfoss
176F2165 | 12 Pulse Inverter module P800kW 500V | 166272 | Danfoss
176F2875 | 12 Pulse Inverter module P800kW 690V | 219611 | Danfoss
176F2222 | 12 Pulse Inverter module P900kW 690V | 243775 | Danfoss
130B4356 | 2 pole cable jumper | 86 | Danfoss
134B5997 | 24 pole 3 connector jumper for C option | 99 | Danfoss
134B7178 | 24 pole 3 connector jumper for C option | 384 | Danfoss
134B7177 | 24 pole 3 connector jumper for C option | 440 | Danfoss
130B0421 | 24 pole flatcable jumper with 2 plugs | 54 | Danfoss
134B5998 | 24 pole jumper/2 connector jumper | 71 | Danfoss
195N2293 | 3 pole line plug 20A 1/3 phase | 79 | Danfoss
195N2344 | 3 pole line plug 32A for 6 mm2 wire | 74 | Danfoss
176F6516 | 300A Current Sens. Conv. Kit - D1h / D3h | 14402 | Danfoss
176F3752 | 300A Current Sens. Conv. Kit - D2h / D4h | 10982 | Danfoss
176F3799 | 300A CURRENT SENSOR RETROFIT KIT P407 | 12075 | Danfoss
130B6462 | 3pol mains plug/twisted 10pc | 752 | Danfoss
134B7194 | 3-pole Terminal Block | 57 | Danfoss
176F6346 | 3R Top Sealing Plate for D1 Frame | 510 | Danfoss
613X6396 | 4 POL HUN PROFIBUS | 82 | Danfoss
130B5305 | 4 pole gate wire | 48 | Danfoss
134B1622 | 44 pole jumper/control connector l=92mm | 160 | Danfoss
134B6458 | 44 pole jumper/control connector l=92mm | 1647 | Danfoss
130B5303 | 4pole gate wire for dual IGBT | 44 | Danfoss
176F9088 | 5 pk of Rittal door filters for F frame | 2441 | Danfoss
176F3737 | 500A Current Sensor Conversion Kit | 11522 | Danfoss
176F3759 | 500A CURRENT SENSOR RETROFIT KIT AAF/LHD | 13792 | Danfoss
176F3746 | 500A Current Sensor Retrofit Kit E-frame | 7662 | Danfoss
176F3747 | 500A Current Sensor Retrofit Kit F-frame | 10458 | Danfoss
176F3766 | 500A CURRENT SENSOR RETROFIT KIT P407 | 9563 | Danfoss
176F3890 | 568A SCR Retrofit Kit - N200T5/N250T5 HO | 18872 | Danfoss
130B1071 | 6 Pole Connector, FC series,10 pcs | 752 | Danfoss
141F3478 | 60S01097 V100X MC05 Control Unit assembly +F0072 | 4454 | Danfoss
141F3485 | 60S01106 HMI plug (10pcs) for V020X and V100X | 845 | Danfoss
141F3486 | 60S01107 V100X control 10 x accessory bag | 5089 | Danfoss
141F3487 | 60S01108 V100X MM04 accessory bag (10pcs) | 3819 | Danfoss
141F3488 | 60S01109 V100X MM05 accessory bag (10pcs) | 3866 | Danfoss
141F3489 | 60S01110 V100X MM06 accessory bag (10pcs) | 3918 | Danfoss
141F3490 | 60S01111 V100X MM04 3 x cable gland | 1219 | Danfoss
141F3491 | 60S01112 V100X MM05 3 x cable gland | 1257 | Danfoss
141F3492 | 60S01113 V100X MM06 3 x cable gland spare part | 1465 | Danfoss
141F3493 | 60S01114 V020CP, X Accessory bag with all mater | 5454 | Danfoss
141F3494 | 60S01115 10x Packaging carton box 214x151x100 spa | 1916 | Danfoss
141F3495 | 60S01116 10x Packaging carton box with EPS 380x22 | 2775 | Danfoss
141F3496 | 60S01117 V020X MU03 10 x packaging | 3045 | Danfoss
141F3497 | 60S01118 V100X MM04 packaging EPP | 4036 | Danfoss
141F3498 | 60S01119 V100X MM05 packaging EPP | 3918 | Danfoss
141F3499 | 60S01120 V100X MM06 10 x packaging | 4833 | Danfoss
141F3500 | 60S01121 10x Packaging carton box with option inl | 2068 | Danfoss
141F3506 | 60S01128 V020X MU02 main switch w | 1376 | Danfoss
141F3507 | 60S01129 V020X MU03 QDSS option with cover spare | 1722 | Danfoss
141F3508 | 60S01133 Standard enclosure cover with Vacon labe | 967 | Danfoss
141F3509 | 60S01134 Operator option enclosure cover with Vac | 967 | Danfoss
141F3510 | 60S01135 Standard enclosure cover with Vacon labe | 1190 | Danfoss
141F3511 | 60S01136 Operator option enclosure cover with Vac | 1204 | Danfoss
141F3512 | 60S01137 V100X MM04 power terminal block | 598 | Danfoss
141F3513 | 60S01138 Power terminal block V100X MM05 | 1608 | Danfoss
141F3514 | 60S01139 V100X MM06 power terminal block | 1741 | Danfoss
141F3526 | 60S01152 HMI cable 0.5m (10pcs) | 1304 | Danfoss
141F3529 | 60S01158 Internal fan ass. V100X MM04 and MM05 | 308 | Danfoss
141F3530 | 60S01159 Internal Fan ass. V100X MM06 | 801 | Danfoss
141F3531 | 60S01160 External Fan assembly V100X | 308 | Danfoss
141F3532 | 60S01161 External Fan ass. V100X MM06 | 1698 | Danfoss
141F3533 | 60S01162 5x Internal fan assembly, MS02, MU02 spa | 1304 | Danfoss
141F3535 | 60S01164 External Fan assembly, V020X MU02 | 308 | Danfoss
141F3537 | 60S01166 10x Option slot cover, V020CP, X spare p | 712 | Danfoss
141F3540 | 60S01178 2 x gasket for cable entry plate, V100X | 351 | Danfoss
141F3541 | 60S01179 2 x gasket for cable entry plate, V100X | 351 | Danfoss
141F3542 | 60S01180 2 x gasket for cable entry plate, V100X | 351 | Danfoss
141F3568 | 60S01208 QDSH operator panel with | 2040 | Danfoss
141F3569 | 60S01209 KIT+QDSH MU3 400V | 2505 | Danfoss
141F3571 | 60S01211 2 x US cable entry plate assembly, V100X | 845 | Danfoss
141F3572 | 60S01212 2 x US cable entry plate assembly | 883 | Danfoss
141F3575 | 60S01215 HMI interface board (10pcs) | 1717 | Danfoss
141F3580 | 60S01223 10x HMI cable 1m V020CP spare part | 1465 | Danfoss
141F3585 | 60S01234 Main switch with cover, V020X 1PH MU02 Q | 2954